Data Export

 XE "Method:Advanced/Export" The Method / Advanced/ Export function allows you to save results automatically in an ASCII file after each analysis is completed. You select the type of data to export: Peaks, Groups, Standard Reports, or Chromatogram. For Peaks and Groups, you may choose the parameters you want to export.  When you export Standard Reports, only the contents of the report will be exported.

When you select the Method/ Advanced /Export tab a dialog box is displayed. You then select what type of data export you want.

[image: image1.png]New Instrument  Method:

ingleC.met__ Data: singtestC.dat __Project: Default MEIE
Ele Edt View Method Data Sequence Anabsis Contiol Reports window Help

&R [Detoctor 1 =1 =]

‘Alvanced Metnod Uptions -~ Detector |

Espot | Custom Pataetrs | Peformarce | Fies |

¥ Export Enabled

- [Chiomatagram <

Parameters (o expart Export these patameters

e

~Esport options

Fleldseparator.  [<Tab> <

Path for exportfes: [D:\EZCHROM ELITE \Projects\DefaultData'Evpor | (5

[T Enable 0DBC

Datasoucerans [ M

Tetie e | :‘

2 1 o e A P P A B

For Help, press F1 T [MIN




Export  XE "Export " 
Click the Export Enabled box to turn data export On for the method. While this option is enabled, data export will occur after each Analysis of the data.  Since the export of data will occur whether the analysis occurs automatically at the end of a run, or when executed manually, you should turn this option off while you are developing methods.

Choose the type of information to export from the drop-down list.  For each type of export chosen, you can select parameters for export. If you have defined any Custom Parameters, they appear in the appropriate list of items you can choose to export.

Exporting Chromatograms XE "Export:Exporting Chromatograms" 
If you select Chromatograms to be exported, you will be given the option to export in either/or AIA (*.CDF) file format, or in ASCII format.

xe "AIA:export of standard files"Selecting the AIA option causes Elite to create a *.CDF (Chromatograph Data File) in the standard format specified by the Analytical Instrument Association (AIA).  AIA Level 2 file export is supported. This includes the raw chromatogram, and integration results. This is also called ANDI file formatxe "ANDI:file format" (Analytical Data Exchange). This allows Elite results to be read by other chromatography data systems.

Note: 
AIA Level 2 support is for export only. Import of AIA files is supported only at Level 1 (raw data).

